## Request for Quotation
RFQ Date تاريخ طلب العرض |  | 2025-12-26 |  | Quotation Valid Till العرض صالح لغاية
PR Reference رمز طلب الشراء |  |  |  | 25122201
Supplier's Information معلومات المزود
Commercial Name الاسم التجاري |  |  |  | Contact Person شخص التواصل لدى المزود
Address عنوان المزود |  |  |  | Mobile/ موبايل
To be filled by SRD supply chain team حقول يتم تعبئتها من قبل فريق المشتريات | [5 empty] | To be filled by supplier حقول يتم تعبئتها من قبل المزود
Item # تسلسل المادة | DESCRIPTION & ITEMS SPECIFICATION البيان ومواصفات المواد |  | Unit الوحدة | Quantity الكمية | Period المدة | Unit Price سعر الوحدة | Total Price السعر الكامل | Brand & Model Details العلامة التجارية والموديل | Notes ملاحظات
1 | Medical equipment as per attached Annex |  | Lumpsum | 1 | 1
2
3
4
5
6
7
8
9
10
02
03
06
07
08
09
10
11
12
13
14
15
Sub-Total | [7 empty] | المجموع
Period | [6 empty] | 1 | المدة
Sales Tax (if applicable) | [7 empty] | الضريبة (إن وجدت)
Other charges (if applicable) | [7 empty] | مصاريف أخرى (إن وجدت)
Discount (if applicable) | [7 empty] | الخصم على السعر (إن وجد)
Currency العملة |  | USD دولار أمريكي | Total Cost |  |  |  |  | السعر الكامل
Exchage Rate سعر الصرف |  |  |  | Date of Exchage Rate تاريخ سعر الصرف
Payment Terms شروط الدفع |  |  |  | Lead Time for Delivery المدة المطلوبة للتوصيل
Other Requirements متطلبات أخرى |  | An official authorized agent of the manufacturer inside Syria OR a written commitment from the supplier to provide maintenance services for a minimum period of three (3) years, in addition to training the staff on operation and maintenance Also, The supplier is obligated to provide delivery and installation |  | Delivery Address عنوان تسليم المواد |  |  | Azaz warehouse (Sajo Mah, the main road of the Al-Salamah Border Crossing)
Offer Received By مستلم العرض
Terms and Conditions الشروط العامة |  | العرض قابل للتجزئة ويحق للمنظمة تثبيت جزء من عرض السعر Offer is Separate-able, SRD has the right to take part of it على المزود التوقيع فوق الختم مباشرة, و ارفاق صورة عن الهوية الشخصية هو شرط لازم لقبول العرض Supplier's Signature should be over companys stamp, and providing copy of ID is a MUST to accept the offer
Supplier's Name, Signature, Stamp & Date اسم المزود و توقيعه وختمه و التاريخ

## Annex
25122201 Annex
# | Description | Unit | QTY | Unit price USD | Total USD | Brand | Manufacturer
1 | Gastrointestinal endoscopy device with all its equipment and accessories, as Annex#1 | Pcs | 1 |  | 0
2 | Ultrasound machine, as Annex#2 | Pcs | 1 |  | 0
3 | Equipping the pathology department with all necessary devices and equipment, as Annex#3 | Pcs | 1 |  | 0
4 | Patient Monitor | Pcs | 4 |  | 0
5 | Stethoscopes | Pcs | 6 |  | 0
6 | Sphygmomanometers | Pcs | 6 |  | 0
7 | Anesthesia Cart | Pcs | 2 |  | 0
8 | Dressing Table | Pcs | 4 |  | 0
9 | Infusion Pump | Pcs | 2 |  | 0
10 | Ambu bag | Pcs | 2 |  | 0
11 | Nebulizer | Pcs | 2 |  | 0
12 | termometer | Pcs | 2 |  | 0
13 | suctions | Pcs | 2 |  | 0
Total |  |  |  |  | 0

## Annex 1
25122201 Endoscopy Equipment and Consumable Annex 1
# | Item | Technical Specifications | Unit | Quantity | Justification / Usage
1 | Endoscopy System | HD video processor, integrated light source, Full HD output, image & video capture, USB export, 24-inch medical grade monitor, mobile trolley, compatible with flexible GI endoscopes, CE compliant. | Set | 1
2 | Upper GI Video Gastroscope | Flexible HD gastroscope, working channel ≥2.8 mm, insertion length 100–110 cm, field of view ≥140°, fully compatible with SonoScape HD-350, biopsy capable. | Piece | 1
3 | Lower GI Video Colonoscope | Flexible HD colonoscope, working channel ≥3.2 mm, insertion length 160–170 cm, field of view ≥170°, compatible with SonoScape HD-350, biopsy & polypectomy capable. | Piece | 1
4 | Biopsy & Procedure Starter Kit | Biopsy forceps, polypectomy snares, injection needles, cleaning brushes, valves set, water bottle & tubing, bite blocks, suction tubing. | Lot | 1
5 | Automated Endoscope Reprocessor (AER) | Automated washer-disinfector for flexible endoscopes, high-level disinfection, drying function, cycle documentation, ISO 15883 compliant. | Piece | 1
6 | Installation, Training & Commissioning | On-site installation, system commissioning, clinical and technical staff training. | Lot | 1
7 | Contingency | Unforeseen costs and minor adjustments. | Lot | 1
8 | Biopsy Forceps | Disposable, sterile | Box | 10 | Routine biopsy sampling
9 | Polypectomy Snares | Disposable, assorted sizes | Box | 5 | Polyp removal
10 | Injection Needles | Disposable endoscopic needles | Box | 5 | Submucosal injection
11 | Cleaning Brushes | Reusable/Disposable | Set | 5 | Endoscope channel cleaning
12 | Valve Sets | Air/Water/Suction | Set | 4 | Replacement valves
13 | Bite Blocks | Adult size, disposable | Box | 5 | Patient safety
14 | Lubricant Jelly | Medical grade | Box | 10 | Scope insertion

## Annex 2
25122201 Ultrasound Specs Annex 2
# | Item | Technical Specifications | Unit | Quantity
1 | Ultrasound System – Color Doppler (Brand New) | Ultrasound (Color Doppler) System — Brand New, with Convex and Vaginal probes capable of abdominal and gynecological imaging. System must include B-Mode, M-Mode, Color and Power Doppler, Pulsed Wave Doppler, image & cine storage, USB export, reporting & measurement software. Includes installation, on-site training, minimum 2-year warrant | System | 1

## Annex 3
25122201 Pathology Equipment and Consumables Annex 3
# | Item | Technical Specifications | Column1 | Quantity | Justification / Usage
1 | Rotary Manual Microtome | Rotary manual microtome, X/Y specimen orientation, fast exchange clamp system, selectable coarse feed direction, retraction ON/OFF, two trim steps, disposable blade holder, universal cassette clamp. Preferred brands: Leica, or equivalent | Device | 1
2 | Water Bath | Histopathology water bath, digital temperature control up to 70°C, stainless steel chamber | Device | 1
3 | Autoclave | Bench-top autoclave 20–25L, automatic cycles, temperature & pressure control | Device | 1
4 | Light Microscope | Binocular light microscope, LED illumination, objectives 4x/10x/40x/100x Preferred brands: Leica, Olympus, Nikon, or equivalent With Digital Camera | Device | 1
5 | Centrifuge | Bench-top centrifuge, up to 5000 rpm, rotor for 10–15 ml tubes | Device | 1
6 | Paraffin wax | Histology grade, melting temp 56–57°C | Kg | 40 | Used for embedding tissue blocks (~8,000 blocks/year)
7 | Cassettes | Processing & Embedding | Box of 500 | 16 | Tissue embedding for all biopsy specimens
8 | Base Molds | Stainless steel | Piece | 16 | Reusable molds for paraffin embedding
9 | Dissecting Forceps | Curved, standard grade | Piece | 2 | Grossing and specimen handling
10 | Toothed Forceps | Straight, standard grade | Piece | 2 | Tissue handling during grossing
11 | Non-toothed Forceps | Straight, standard grade | Piece | 2 | Delicate tissue handling
12 | Tissue processing containers | Glass, 1 liter | Piece | 16 | Fixation and processing of specimens
13 | Staining Rack | Stainless steel, 25 slides | Piece | 5 | Slide staining and drying
14 | Staining Dishes | 105 x 86 x 75 mm | Piece | 12 | Manual staining procedures
15 | Scalpel Handle | #4, stainless steel | Piece | 2 | Gross dissection
16 | Scalpel blades | Disposable, box of 100 | Box | 5 | Specimen grossing
17 | Ruler | Opaque metric, 30 cm | Piece | 2 | Measurement during grossing
18 | Slide Draining Tray | Polyethylene, 40 slides | Piece | 4 | Slide drying after staining
19 | Slides | Microscope glass slides | Box of 100 | 75 | Routine histology slides (~8,000/year)
20 | ENTELLAN | Mounting medium | 500 ml | 6 | Permanent mounting of stained slides
21 | Coverslips | 22 x 30 mm | Box of 100 | 35 | Covering stained slides
22 | Decalcifying solution | Lite aqueous solution | 1000 ml | 5 | Bone and calcified tissue processing
23 | Eosin solution | Aqueous, RTU | 500 ml | 5 | Routine H&E staining
24 | Hematoxylin solution | Harris Modified | 1000 ml | 5 | Routine H&E staining
25 | Formalin | 10% Neutral Buffered | 1000 ml | 125 | Tissue fixation (~8,000 patients/year)
26 | Xylol | Clearing reagent | 1000 ml | 20 | Deparaffinization and clearing
27 | Alcohol | 95% | 1000 ml | 20 | Dehydration steps
28 | Microtome blades | Disposable stainless steel, box of 50 | Box | 50 | Sectioning ~8,000 slides/year